MAC Scientific
TD4C PRP/PRF/GFC Blood Centrifuge

Professional Product Datasheet & Sales Catalogue
Website: ms-bd.com
Phone/WhatsApp: +880 1312-699221
Shop No-59, Rajanigandha Super Market (2nd Floor), Kocukhet, Dhaka Cantonment, Dhaka-1206

Product Overview

The TD4C PRP Centrifuge from MAC Scientific is a professional low-speed blood centrifuge designed for PRP, PRF, GFC and CGF preparation in regenerative medicine, dermatology, hair restoration, orthopedics, dentistry and aesthetic clinics. It combines stable performance, low vibration and easy digital operation for reliable daily clinical use.

Key Features

Maximum speed: 4000 RPM

Brushless DC motor

Digital LCD control

Adjustable RPM and timer

Quiet, low-vibration operation

Automatic lid safety lock

Suitable for PRP, PRF, GFC & CGF

Compact laboratory design

Easy maintenance

Technical Specifications

| Parameter | Specification |
| --- | --- |
| Model | TD4C |
| Max Speed | 4000 RPM |
| Motor | Brushless DC |
| Display | Digital LCD |
| Applications | PRP / PRF / GFC / CGF |
| Power | 220V, 50Hz |

General Operating Guide

Collect blood using the recommended sterile collection tube.

Balance tubes equally in the rotor.

Close and lock the lid.

Set RPM and time according to the tube manufacturer's protocol.

Start the run.

Wait until the rotor stops completely.

Remove tubes carefully and proceed with treatment.

Typical Reference Settings*

| Tube | RPM | Time |
| --- | --- | --- |
| PRP | 3700-4000 | 5-8 min |
| PRF | 2700 | 7-12 min |
| GFC | 3400-3600 | 8-10 min |

*Reference values only. Always follow the protocol supplied with the collection tubes.

Applications

Hair Restoration

Facial Rejuvenation

Orthopedics

Sports Medicine

Dentistry

Clinical Laboratories

Packing Information

1 × TD4C Centrifuge

1 × Fixed Angle Rotor

1 × Power Cable

1 × User Manual

1 × Spare Fuse (if supplied)

Warranty

Standard 1-year limited warranty against manufacturing defects (subject to supplier terms).

Contact MAC Scientific

MAC Scientific
Shop No-59, Rajanigandha Super Market (2nd Floor)
Kocukhet, Dhaka Cantonment, Dhaka-1206
Phone/WhatsApp: +880 1312-699221
Website: https://ms-bd.com
Email: macscientificbd@gmail.com